## Slide 1
Welborn Whole Home Inspections
Seasonal Home Maintenance Guide
Helpful tips to protect your investment year-round.
[Insert Logo Here]
Inside: Seasonal Checklists
Spring • Summer • Fall • Winter Simple tasks to extend your home's life.
Contact Us
📞 850-625-3460 ✉ welbornwholehomeinspections@gmail.com
🌐 welbornwholehomeinspections.com Licensed & Insured in Alabama & Florida
Member of ASHI
Certified Drone Pilot
Call or Book Online!
Client-Focused Approach
Our service is centered around the needs of our clients, with a focus on open communication and clear reporting to support you during the home buying or selling process. We are happy to discuss our findings and answer any questions you may have about your prospective property

## Slide 2
Spring & Summer Maintenance
Roof & Gutters: Clean gutters, check shingles, inspect flashing.
Landscaping: Trim trees and shrubs away from home. Check grading for proper drainage away from home.
Exterior: Inspect exterior paint, siding, and caulking. *Clean windows and screens.
HVAC & Cooling: *Replace filters, clean condenser, schedule tune-up.
Plumbing: Check for leaks and test irrigation.
Clean refrigerator coils and check seals
Inspect and clean dryer vent and exhaust fans
Test GFCI outlets outdoors and in wet areas
*Check and replace filters monthly
*Regularly open and close windows to keep mechanisms working correctly
Fall & Winter Maintenance
Heating System: Inspect and service heating system.*
Weatherproofing: *Seal windows/doors, inspect insulation, check for drafts.
Roof & Gutters: Clear debris, and direct water away from foundation.
Test smoke alarms and CO detectors
Inspect water heater
Inspect fireplace, chimney, and flue
Monitor weather and insulate pipes if needed
Reverse ceiling fan direction for warm air circulation
Check attic and crawlspace for moisture and leaks.
*Check and replace filters monthly
*Regularly open and close windows to keep mechanisms working correctly
Why Schedule a Home Inspection?
Regular inspections help identify small issues before they become costly repairs. Whether buying, selling, or maintaining your home, a professional inspection gives peace of mind and helps protect your investment. Bonus Tips: • Keep a maintenance log. • Don’t skip seasonal tasks. • If you plan on selling your house, ask your agent about pre-listing inspections.